## KPI's
Public Utilities Development Plan
Source of Data | 2019 / 20 | WHERE ARE WE NOW? | WHERE DO WE WANT TO BE? |  | HOW DO WE GET THERE? | HOW DO WE KNOW WHEN WE ARE THERE? |  | Responsibility for Monthly Report Data
| Performance Measure | Benchmark 2012/13 | Target 2019/20 | YTD | Internal Review & Performance Improvement Plan | Method of Monitoring | Collection & Analysis Process
1. Reliability
| Overall Reliability of Electricity Network | 146 | 95 | 50 | Proactive maintenance program with regular review of priorities and targeted interventions based on performance data | Weekly review by Management Team, monthly review by Board of Directors | Collation of data from callout contractor and staff callouts.
| Overall Reliability of Water Network | 1582 | 1150 | 1399 | Implementation of 20 year water resources plan supplemented with a proactive maintenance program and a regular review of priorities and targeted interventions based on performance data | Weekly review by Management Team, monthly review by Board of Directors | Collation of data from callout contractor and staff callouts.
Callie
2. Quality
Lab reports (each Thursday) | Appearance of Treated Water in CSH Network Redhill (NTU) | 4 - 5 | 1.75 | Measurement Problem | Implementation of 20 year water resources plan supplemented with a proactive maintenance program and a regular review of priorities and targeted interventions based on performance data within 24 hours of reports being received | Weekly review by Management Team, monthly review by Board of Directors | Samples taken and analysed at water treatment works.
| Appearance of Treated Water in CSH Network Hutts Gate (NTU) | 4 - 5 | 1.75 | 1.17
| Appearance of Treated Water in CSH Network Levelwood (NTU) | 4 - 5 | 1.75 | 1.05
| Appearance of Treated Water in CSH Network Jamestown (NTU) | 4 - 5 | 6 | 0.93
Lab reports (each Thursday) | Microbiological Integrity of Treated Water in CSH Network | 96.5% | 95.5% | 100% |  | WM002 E.coli & Coliforms Reported 'Not Detected', management review weekly, monthly review by Board of Directors | Samples Collected by CSH and analysed by UKAS accredited laboratory | Callie
Lab reports should be on Thursday but SHG are quite sporadic | Microbiological Integrity of Treated Water at Consumer Meter | 87% | 95.5% | 100% |  |  | Samples Collected by Environmental Health and analysed by UKAS accredited laboratory | Callie
Brenda
3. Customer Service
Tracker | Time taken to perform Electricity Connection | 50 days | 16 Days | 6 days | Adherence to agreed procedures, adequate levels of stock available | Weekly review by Management Team, monthly review by Board of Directors | Number of CSH 'process days' in the overall connection
Tracker | Time taken to perform Water Connection | 90 days | 10 Days | 2 days |  |  | Number of CSH 'process days' in the overall connection | Callie
Weekly Mtg Sarah (Need more robust process) | Total Customer Complaints handled within COP parameters | No Benchmark | 100% | 100% | Adherence to agreed procedures |  | Received complaints and resolution analysis | Brenda
RAG Status assessed by Leon